## Slide 1: Sound Visualization with an Acoustic Camera
Lino Mediavilla

## Slide 2: Agenda
Introduction & Motivation
Methodology
  Processing Algorithm
  Array Design
  Hardware & Software components
Results
Discussion & Conclusions

## Slide 3: Introduction & Motivation

## Slide 4: What is sound?
Source: gpd.com

## Slide 5: How is it measured?
measured pressure of soundwave
Sound pressure level

## Slide 6: How is it measured?
Source: Boels.it
Source: gpd.com

## Slide 8: Acoustic cameras produce acoustic maps
  Location, strength & spectrum
Source: GFAI
Source: GFAI
Microphone array
Digital Cam.
Processing Software

## Slide 9: Acoustic maps are of great interest
Source: 3D printed acoustic camera for electric motor diagnosis (Orman et. al, 2014).
Diagnosis without dismantling
Healthy
Broken rotor bar

## Slide 10: Acoustic maps are of great interest
Sound leakage detection
Source: The Acoustic Camera as a valid tool to gain additional information over traditional methods in architectural acoustics (Ortiz et. al, 2015).
Compressed air leaks
Source: Compressed Air leak detection and identification system (Optinav)

## Slide 11: Methodology: Processing Algorithm

## Slide 12
Sound Pressure Level of source

## Slide 13
What we measure
Isolate contribution from

## Slide 14
)
Phase
Amplitude
Source: Acoustic beamforming for noise source localization – Reviews, methodology and applications. Mechanical Systems and Signal Processing. (Chiariotti et. Al, 2019)
What we measure

## Slide 15
Repeat for all the other mics…
Then repeat for all points in the grid!

## Slide 16: Methodology: Array Design

## Slide 17: Microphone placement affects performance
Unresolved
Resolved
Desirable:
Wide dynamic range
High spatial resolution
Source: Effects of array scaling and advanced beamforming algorithms on the
angular resolution of microphone array systems (Aldeman & Raman, 2018).
Speakers

## Slide 18: Microphone placement affects performance
Ghost sources
Undesirable:
Spatial Aliasing
Source: Suppression of spatial aliasing using moving arrays (Cigada et.al, 2008).
Only actual source

## Slide 19: Spiral arrays: the sweet spot
Source: Acoustic beamforming for noise source localization (Chiariotti et. al., 2019).
Source: A comparison of popular beamforming arrays (Prime & Doolan, 2013).

## Slide 20: Spiral arrays: the sweet spot
Underbrink spiral: best performance (Prime & Doolan, 2013).
F parameter: 0.274
Ideal F parameter: 1

## Slide 21: Methodology: Hardware & Software components

## Slide 22: Workflow
Acquisition
Processing
Results
Source: GFAI
Source: GFAI

## Slide 23: Hardware components
Webcam
Behringer
ECM-8000
NI cDAQ 9178

## Slide 24: Acoular: an open source processing library
  E. Sarradj & G. Herold
  Beamforming algorithms
  Key optimizations
Source: A Python framework for microphone array data processing (Sarradj & Herold, 2017).

## Slide 25: Software Components
  LabView UI
  Python server
  Acquisition
  Processing
  Results

## Slide 26: Results

## Slide 27: One Source (white noise)
Speaker

## Slide 28
0.5 m
SPL @ Center: 78.4 db

## Slide 29
0.8 m
SPL @ Center: 68.2 db

## Slide 30
0.3 m
SPL @ Center: 84.7 db

## Slide 31: Two Sources (both white noise)
Phone
SPL @ Center: 77.2 db
Tablet
SPL @ Center: 72.0 db

## Slide 32
0.5 m
SPL @ Center:
72.0 db (tablet)
77.2 db (phone)

## Slide 33: Two Sources (different sounds)
Phone
Pure tone,
4 kHz
Tablet
White Noise

## Slide 37: Room for improvement
Acoustic Map |  |  | 
Localization Error (cm) | 7.2 | 5.4 | 4.0
Pressure Level Error (db SPL) | 1.9 | 4.4 | 1.9

## Slide 38: Room for improvement
Issue | Proposed solution
Narrow frequency range | Geometry with higher F parameter
Asymmetric response | More symmetric geometry
Intensity error | Calibration with professional SPL meter
Localization error | Enforce alignment of microphones and camera. Lower discrepancies in sensor positions.

## Slide 39: Conclusions
Acoustic cameras: to characterize unknown sound sources (location, intensity and spectrum).
Current prototype: locates and characterizes sound sources (asymmetry, narrow frequency range, visible localization error).
The device works best within a distance of 0.5 - 0.8 meters.
An advance towards the development of an acoustic camera has been made.

## Slide 40: Thanks for your attention

## Slide 41
References
Aldeman, M., & Raman, G. (2018). Effects of array scaling and advanced beamforming algorithms on the angular resolution of microphone array systems. Applied Acoustics, 132(November 2017), 58–81. https://doi.org/10.1016/j.apacoust.2017.11.009
Chiariotti, P., Martarelli, M., & Castellini, P. (2019). Acoustic beamforming for noise source localization – Reviews, methodology and applications. Mechanical Systems and Signal Processing, 120, 422–448. https://doi.org/10.1016/j.ymssp.2018.09.019
Orman, M., Rzeszucinski, P., & Pinto, C. T. (2014). 3D printed acoustic camera for electric motor diagnostics. (Icaicte), 43–47. https://doi.org/10.2991/icaicte-14.2014.10
Ortiz, N. M., Barré, S., & Vonrhein, B. (2015). The acoustic camera as a valid tool to gain additional information over traditional methods in architectural acoustics. Energy Procedia, 78, 122–127. https://doi.org/10.1016/j.egypro.2015.11.126
Prime, Z., & Doolan, C. (2013). A comparison of popular beamforming arrays. (November), 1–7.
Sarradj, E., & Herold, G. (2017). A Python framework for microphone array data processing. Applied Acoustics, 116, 50–58. https://doi.org/10.1016/j.apacoust.2016.09.015